Final, 31 May 2004

ééééééééééééééééééééééééééééééééééééééééééééééééééééééééééééééééééé

ACCESSIBILITY

AT   THE

PORT ELIZABETH TECHNIKON

###### An assessment of the barriers faced by people with disabilities

when  using the PE Technikon  campuses in Port Elizabeth and George.

Client:

The Dean of Students  and The Disability Forum,

Port Elizabeth Technikon,   041-504 3911

Compiled by:

Tony Webb,

éé  The Disability Help-Line éé

Port Elizabeth,   041-368 3707, 082-290 3764,   barndans@yebo.co.za,

Ref  036, 31 May 2004.

Disclaimer – this report is furnished solely for the information of the client,  the  Port Elizabeth Technikon.  The assessment and recommendations are based on our practical experience in dealing with people with disabilities and our research into accessibility and other disability issues using the references quoted in the report, and other information available to us.

Our responsibility is to try to identify where the buildings appear to fail to meet  generally accepted South African standards of accessibility and give practical recommendations on how such barriers could be removed.

The final design of the buildings and any alterations remains the responsibility of the Technikon  and no claim against the writer or the Disability Help-Line for whatever reason will be considered.

ééééééééééééééééééééééééééééééééé

éééééééééééééééééééééééééééééééééé

Dedication

To my wonderful wife Crystal who, after a severe stroke,  uses a  wheelchair for mobility.

For her  patience and cheerful disposition,  which never faltered while she was pushed around the campus during this assessment, gamely holding onto my files  and note pads with her one ‘good’  hand…

#### TABLE OF CONTENTS								PAGE

Abbreviations										3

PART ONE

Foreword  										4

SECTION 1:  	INTRODUCTION							4

1.1   	Aims and  Background

1.2   	Outline of the Assessment

SECTION 2:	TYPES OF BARRIER						6

2.1	Introduction

2.2    	Fire and other Safety and Health Hazards

2.3	Attitudes and Awareness

2.4    	Communication, Signage and Access to Information.

2.5    	Parking Facilities

2.6    	Ramps  and Pathways

2.7    	Entrances and Doorways

2.8    	Lifts

2.9    	Toilets and Restrooms

2.10    	Work and Study Stations and other facilities

2.11  	Pay Phones and ATM’s

2.12  	Other Barriers

SECTION 3:	SUMMARY AND CONCLUSIONS					16

3.1	The Assessment of the Campuses

3.2	The Impact of Barriers on Students and Staff with Disabilities

3.3	The Disability Forum

3.4	The Way Forward.

REFERENCES									18

PART TWO

SECTION 4:	THE MAIN CAMPUS						21

4.1	General layout

4.2	Summary of Barriers

4.3	Administration and Academic Buildings

4.4	Residences

4.5	Sport facilities

4.6	Conference Centre

4.7	Sanlam Student Village

SECTION 5:	THE COLLEGE CAMPUS						45

5.1	General layout

5.2	Summary of Barriers

5.3	Administration and Academic Buildings

5.4	Residences

5.5	Sport facilities

SECTION 6: 	THE ALGOA CAMPUS						61

6.1	General layout

6.2	Summary of Barriers

6.3	Administration and Academic Buildings

SECTION 7:	THE SAASVELD AND HURTERIA CAMPUSES, GEORGE 	68

7.1	General layout

7.2	Summary of Barriers

7.3	Saasveld

7.3.1	Administration and Academic Buildings

7.3.2	Residences

7.3.3	Sport facilities

7.4	Hurteria

^*^*^*^*^*^*^*^*^*^*^*^

# Abbreviations

### 2F		Second Floor. 3F = Third Floor and so on.

F		Female

FF		First Floor

GF		Ground Floor

M		Male

m		Metre

mm		Millimetre

Paraplegic	Facilities designed for wheelchair users and other people with mobility disabilities.

Used interchangeably with ‘accessible’ and ‘wheelchair friendly’.

## ( x ) 		indicates door numbers

>  		indicates ‘greater than’

<   		indicates ‘less than’.

The notation used for the gradient of ramps is of the form 1:xx,   meaning that the ramp has a gradient  rising (or falling) by 1 unit of length for every xx units of length along the ramp.

^*^*^*^*^*^*^*^*^*^*^*^

PART ONE

Foreword

“  Disabled people in wheelchairs rely heavily on the built environment for mobility. An accessible environment is not determined by disabled people themselves, but by how they are able to interact with the environment. If a wheelchair user cannot reach the first floor of a building because of a flight of stairs, it is not because he/she is in a wheelchair, but because of the presence of the stairs. It is the physical environment which prevents access, not the fact that a person in a wheelchair cannot walk.”

Thus wrote able-bodied UPE student David Morton in his “Investigation into wheelchair accessibility in the urban business districts of Port Elizabeth” (Ref 31). His words set the scene well when looking at the barriers faced by disabled people who visit the Technikon  campuses to study, work or attend various events.

Accessibility can be defined as =

“The extent to which aspects of society can be equally, easily, safely and appropriately used or reached by people with special needs or impairments. These aspects include buildings, facilities, constructed spaces, transport, information, equipment, services, activities, resources, utilities, language, communication and technology.”  (Ref 03)

In 2001 the Government of the Eastern Cape,  Office on the Status of Disabled Persons (OSDP) called on all government departments to remove barriers to accessibility and  ensure that “ at least 5%  of each department’s available staff positions should be allocated to people with disabilities, with adequate provisions  for reasonable accommodation,  all-round accessibility and skill enhancement opportunities”.  (Ref 05)

Similarly, the Department of Public Buildings and Works was expected to upgrade at least 80% of public buildings to be fully accessible to disabled people.

There appears to be no reason why this should not apply to the education sector, but, as this report shows,  PE Technikon has a long way to go.

SECTION 1:  INTRODUCTION

1.1   Aims and Background

In June 2003, the Dean of Students  and the Disability Forum of the PE Technikon commissioned the Disability Help-Line to do an assessment of each campus to provide a baseline comparison  with the South African national standards for accessibility for people with disabilities.

Disabled people  include those who  have mobility or other physical disabilities,  are blind or partially sighted or are deaf, hard of hearing or cannot speak. They also include people with temporary disabilities such as broken limbs. The special needs of people with psychiatric or intellectual disabilities are acknowledged but were not specifically included in this assessment.

The Technikon has three campuses in Port Elizabeth (Main, College and Algoa) and two in George.      In 2003, there were over 8000 students and staff between the five campuses, but, according to the  Technikon records, there were less than 10 (ie < 0.13 %) students and staff known to have disabilities.  Prior to 2004, the Application for Admission form did not invite students to declare any disability.  Some disabled students and staff appear unwilling to identify themselves as having a disability, which is the right of each individual but does nothing to improve  accessibility for those who need it.

South Africa’s emerging legislation on human rights (Ref 01, 02),  employment equity (Refs 13, 14 and 48) and  prevention of  discrimination (Ref 15), motivate that the staff profile of organisations of all types should reflect the demography of the areas where they operate.  As at least 5 to 10 % of the population in the Eastern Cape have a  disability, the Technikon should  plan to accommodate a similar percentage of disabled students and staff.

NB: In the Nelson Mandela Metro, there are currently over 50 000 people with disabilities receiving a disability grant of R720 per month to support themselves, and in many cases an extended family.  According to the 1996 Census, the distribution by disability sector is -  Sight = 41%, Hearing = 14%, Physical = 21%,  Mental = 7%,  More than 1 = 6%, Unspecified = 10%.

Various categories of people visit  the Technikon including students, academic and admin staff, suppliers, contractors, learners attending careers events and members of the general public attending exhibitions, seminars, presentations  and sports functions.

This assessment  was to include car parks, entrances, reception areas, lifts, toilets, offices, lecture rooms, laboratories, libraries, cafeterias, clinics, residences and sport facilities at the campuses in Port Elizabeth and George.  It was noted that the Technikon also makes use of various off-campus venues, but these would not be considered during this assessment.

Contact would be made with disabled students and staff to determine the barriers they experience whilst on campus. Barriers would be identified and recommendations made where possible, but as the writer is not an architect, it would not be possible to offer detailed solutions to architectural problems.

1.2   Outline of the Assessment

The practical yardstick used nationally for mobility is the capability of a paraplegic wheelchair user (i.e. a person who is unable to walk, but has full function in both arms) to move about independently.   Each building was therefore assessed, accompanied by a wheelchair user,  to determine any barriers that would prevent such a disabled person from freely accessing or working in the building,  participating in sports activities or residing in the residences,  or cause them to make unacceptable detours to gain access. Note was also taken of barriers to people who have other physical or mobility disabilities, who are blind or partially sighted,  deaf, hard of hearing or who cannot speak.

For each building,  measurements and other details were recorded on fire and other health and safety hazards, communication, signage and information, parking facilities, ramps and pathways,  entrances and doorways, lifts, toilets and restrooms, work and study stations, service points, catering facilities, pay phones, ATM’s  and other relevant features.  These were compared  with the national standards for accessibility (Refs 6, 7 and 8).

The accessibility needs of disabled students and staff and  other disabled visitors such as suppliers and contractors were considered  together with  the needs of disabled learners attending exhibitions, and family members such as parents with pushchairs and small children, and elderly or frail relatives and friends attending functions at venues such as   the Auditorium and   sports facilities, and people with temporary disabilities.

Interviews were held with disabled students and staff met during the survey to determine the types of barrier they encounter whilst on-campus.  Disabled and able-bodied staff in various admin  departments were also interviewed.  Information  received during the interviews has  been incorporated anonymously in the relevant sections of this report.

The types of barrier are discussed in Section 2, with some examples of barriers observed during the assessments, recommendations offered to remove the barriers,  and the related National Standards. A summary and the conclusions drawn from the assessment are given in Section 3.

Part One of this report ends with a list of references which include current legislation, national standards and other relevant publications on disability issues

Part Two records the detailed assessments of each campus,  in Sections 4 to 7.

## SECTION 2:  TYPES OF BARRIER

## 2.1	Introduction

## It was soon clear that all campuses and most buildings presented the following barriers to disabled students, disabled staff and other disabled visitors –

## >  None of the buildings assessed met all the requirements for accessibility.

>  There are no emergency evacuation procedures.

>  Apathy amongst  disabled students and staff.

>  The Disability Forum is not representative of disabled students and staff.

>  Students and staff  lack of awareness of disability issues and had low expectations.

> Technical staff is ignorant of national standards of accessibility, and react to individual requirements of disabled students or staff.

>  No signage to indicate accessible routes or facilities

>  No facilities for people who are blind or deaf or cannot speak to communicate or access

>  information.

>  The Shuttle Service vehicles are not accessible.

>  Most areas do not have paraplegic parking bays with space for wheelchair users.

>  Rough, uneven paths are a dangerous and painful hazard.

>  Most pavements do not have curb cuts, wheelchair users are forced to ride in the road..

>  Many ramps are too steep and without safety landings, handrails and curbs.

>  Many steps without safety handrails.

>  Many doorways with sills greater than  15mm.

>  Many double doors too narrow for wheelchair users to get through unless both doors are open.

>  Long arduous routes to access some areas.

>  Most buildings with more than one floor do not have a lift.

>  Most buildings do not have a paraplegic  toilet with space for wheelchair users.

>  Some lecture venues do not have space for wheelchair users.

>  No facilities to assist disabled people to get up onto the stages.

>  Most ATM’s, Pay Phones, vending machines, catering and other service counters are too high

>  and are not accessible to  wheelchair users.

>  No facilities for paraplegic wheelchair users in the  ablution blocks or change rooms.

>  No facilities to assist disabled people to get down into the swimming pools.

The remainder of this section presents examples of typical barriers  found while assessing the buildings and other facilities on the Main Campus. Recommendations are given for some of the changes needed to remove the barriers and bring the Technikon up to the national  standards of accessibility.  NB  Similar barriers may be found on all the campuses.

At the end of each sub-section, brief notes are given of related National Standards, viz:-

The notes on National Standards given at the end of each part below have been taken from SABS and other national specifications or guidelines, most of which are given in the References.

2.2  FIRE  AND OTHER HEALTH AND SAFETY HAZARDS

| OBSERVATIONS | RECOMMENDATIONS |
| --- | --- |
| There are no specific emergency procedures in place to assist disabled occupants to evacuate buildings in the event of a fire or other emergency. This is of particular concern for the buildings with more than one floor, the residences, the Auditorium, Conference Centre, Indoor Sport Centre and any other places where large numbers of people may gather. | This situation should be investigated with a risk management expert. Emergency evacuation procedures should be published with escape routes for all buildings. These should specifically include provision for wheelchair users and all other people with disabilities. The procedures should be displayed in print and Braille at 1200 mm above the floor. |
| There are no visual warnings for deaf people, especially with regard to emergency evacuation procedures | There should be both audible and visual fire or other emergency alarms in all areas. |
| There are no specific measures in place for the short-term protection against fire for disabled occupants of buildings with more than one floor. | Safe enclosed areas should be provided that give protection from smoke and fire. These should be fitted with communication to contact the emergency services. (Ref 23) |
| The safety of the annex in the Arts Dept should be reviewed. | A risk management expert should be consulted. |
| Some pavements are not accessible and wheelchair users are forced to ride in the road. Example - Between the Letaba and Lebombo residences, the Health Unit and the Main Buildings. | Curb cuts should be installed to SABS 0246 at all corners of pavements and at pedestrian crossings. Curb cuts should also include tactile markings for use by Blind people who use a white cane. |
| Stairways which are not enclosed underneath are a hazard for blind and partially sighted people who may accidentally walk under the stairs and bump their head. | Tactile guards (eg potplanters) should be installed to prevent people from walking underneath open stairways, or bumping their head on equipment protruding from a wall, such as a fire extinguisher. |
| Some ramps are dangerous as they are too steep or do not have curbs or handrails. Example - the 1:3 ramp at the entrance of the N2 Lecture Theatre. | All ramps should be checked and upgraded to SABS 0246 (Ref 07) |
| There are very few accessible toilets on the campus. Easy access to paraplegic toilet facilities is essential for people with several types of disability, particularly for wheelchair users. | There should be accessible toilets on every floor of every building. Failure to attend regularly to the needs of nature can result in urinary tract infections, kidney and other health problems. |
| National Standards An expert in occupational health and risk management should be consulted. |  |

2.3  ATTITUDES AND AWARENESS

| OBSERVATIONS | RECOMMENDATIONS |
| --- | --- |
| Most disabled staff and students do not appear to take any interest in the Disability Forum at the Technikon. There are no accurate records of the number of disabled staff and students. | The Disability Forum should register ALL disabled staff and students at the Technikon automatically as members, and involve as many as possible in it’s activities. |
| The SRC and employee unions do not appear to have been involved in disability issues. | Representatives from the SRC and employee unions should be co-opted onto the Disability Forum. |
| The Architectural Department has also not been involved in the removal of barriers to physical access. | Representatives of the Architectural and other relevant departments should also be co-opted onto the Disability Forum to improve the understanding of those departments and the role that they should play on campus. |
| The Disability Forum, and the Technikon in general lack regular contact with external disabled peoples organisations and others who are working on disability issues. Consequently they are not keeping pace with the changes taking place in other parts of the education sector, and in legislation, business, tourism and the general public, in terms of disability issues. | Local experts on disability issues should be co-opted onto the Disability Forum and other relevant Technikon committees. Progress with improvements to accessibility and other disability issues should be continuously monitored by the Disability Forum. |
| During the assessment, a variety of attitudes were met towards people with disabilities, from autocratic indifference to overbearing patronisation. A cultural change is needed at the Technikon, but there appears to have been little or nothing done by management to train admin and academic staff and students to raise awareness about people with special needs, and explain disability etiquette, in order to improve attitudes. | Training should be provided to raise the awareness of all staff and students (disabled and able-bodied) about rights, accessibility and other disability issues. (Ref 03, 21, 42 and 48) Related information should also be disseminated by email and on internal websites, and on display boards at strategic points eg Main Admin, the Library, the Food Courts, Health Services, Sports Centre and the Residences. |
| Most front-line departments that interact with the public, or provide non-academic services to students, lack awareness of disability issues. Most individuals appear to have no perception of the barriers faced by students and staff with disabilities in their daily lives. | Specific training on disability etiquette should be provided for staff in front-line departments, including the catering and sports facilities. (Ref 22, 40, 41) |
| According to some students, some lecturers have a negative attitude towards students with disabilities. | Specific training should be provided for academic staff, including guidelines on teaching students with special needs. (Ref 39) |
| Interviews were held with members of the HR department, SRC and NUTESA but disability issues did not appear to be a priority with any of them. | Technikon departments providing services to employees and students, and organisations representing employees and students should put equity, accessibility and other disability issues onto their agendas. (Ref 03) |
| The Disability Forum has not been meeting regularly and obviously does not have the capacity to handle these and other outstanding disability issues. Little progress is being made with the implementation and monitoring of the Technikon’s disability equity policies, the removal of physical and intellectual barriers, support for academic faculties, updating teaching methods, education and awareness of staff and students, support for HR management, part time jobs and experiential training for disabled students. | A Disability Unit should therefore be created with a small full-time staff of suitably qualified disabled persons, to deal with disability issues. (Refer other Universities and Technikon’s in SA). |
| National Standards >Employees should be given training on how to interact effectively with people with disabilities. Ref 03 - What every South African should know about disability rights. Ref 21 – Disabled People South Africa Ref 22, 40 – Disability etiquette. Ref 39 - Teaching students with special needs. Ref 41 – Assisting disabled people in a restaurant Ref 42, 48 – Managing disability in the workplace. |  |

2.4  COMMUNICATION,  SIGNAGE AND ACCESS TO INFORMATION

| OBSERVATIONS | RECOMMENDATIONS |
| --- | --- |
| Very few signs exist to indicate the position of, or route to accessible facilities. This is a particular problem for new disabled students, staff and visitors.. | Symbolic signs should be installed to indicate accessible routes and specific accessible facilities, eg reserved parking bays, ramps, lifts, and toilets. The location of such accessible facilities should be added to maps and diaries. Security and other key staff should be trained about accessible routes and facilities. |
| Only the lower shelves in the Libraries can be reached by wheelchair users. However, library staff are prepared to assist when they have the time. | Student Assistant Helpers could be recruited to assist as required. Some students may enjoy the voluntary work and the opportunity to form relationships with pwd’s, and could meet near the entrance of the Library and be ‘collected’ by the wheelchair user on the way in. |
| Some students cannot use conventional PC keyboards. | Voice operated software should be installed on some PC’s in PC Labs and the Library. |
| Partially sighted and deaf students and staff may require special facilities in order to be able to move around, study and work effectively. | Good lighting and contrasting colours should be provided throughout the campus. |
| Some printed information such as notices on notice boards and info on PC screens is difficult to read, particularly if the reader is partially sighted, or seated in a wheelchair. | Large (at least 12 point) clear fonts, black on white, should be used for effective communication. |
| Some disabled students said that they need easier access to PC’s to make better use of spare time during the day and after hours. | PC labs should be installed in key positions throughout the campus and the Residences. |
| National Standards Buildings and information should be accessible to all, including people with disabilities and other special needs. Accessible facilities including wheelchair-friendly routes, lifts and toilets should be clearly marked. SABS standards should be used for the size and colouring of signage. Signs should be symbolic, ie language-free, where possible. Good lighting and large (at least 12 point) clear fonts are essential for effective communication on printed papers and on notice boards. Avoid obscuring printed information with poor contrast or ‘busy’ backgrounds. Employees and students should be given training on how to communicate with people who are blind, deaf or cannot speak. There is a wide range of computer-based equipment available to aid communication, including voice-operated and speech-generating software and hand-held computers. This may assist blind and deaf people and those who cannot speak to maintain function in work and study situations. Information should be available in electronic form so that blind and deaf people can access it. Eg: via email and the Internet. Accommodations for people who are blind or partially sighted. Give the person your full attention, and don’t interrupt or finish the person’s sentences. Guide Dogs should be allowed to accompany their owner to all areas. Audible and tactile safety warnings should be provided for persons who cannot see. Emergency evacuation procedures should be provided in Braille and on audio tape. Good lighting and contrasting colours, particularly between walls, doors and floors, may assist partially sighted people to move safely and to work efficiently. Braille is preferred by those who can read it, but raised letters and numerals are of more general use to most blind and partially sighted people, eg in lifts, on the wall just outside the lift to indicate the floor, and on doors in general. A Mobility Instructor should give newcomers to an organisation induction and orientation training. In training environments, handouts should be made available in advance to allow time to have them read. Notes should be provided in Braille, large print or on audiocassette when required. Lecturers should mention salient points of any visual information. Eg Overhead slides. ##### Accommodations for people who are deaf or hard of hearing or who cannot speak. Some people may be difficult to understand and some may be deaf and may not be able to hear you. Give the person your full attention, in a quiet environment, make eye contact and don’t interrupt or finish the person’s sentences. It is OK to use natural gestures to assist communication. Sign Language interpreters should be provided when required. Alternative communication such as wall charts, cards on a key ring and alphabet cards to spell out unintelligible words can be useful. If necessary, ask the person to write it down or to suggest another way to communicate. Visual and vibrating safety warnings should be provided for persons who cannot hear. All areas should be well lit to assist deaf people to lip-read and to sign (use sign language). A sign language interpreter or another experienced deaf person should give newcomers to an organisation induction and orientation training. PA announcements should be repeated on visual displays, particularly in airports and similar public places. In training environments, handouts should be made available in advance, to give the student the opportunity to prepare questions. Lecturers should provide visual cues for any audible information. Eg Subtitles for videos. Library Technology There is a wide range of technology available – for some ideas see- http://www.lib.usf.edu/ref/ada.html. http://www.nelson.usf.edu/ada/ http: www.arl.org/university/leading/issue12/papangelis.html http://alexia.lis.uiuc.edu/~lis405/special.access.htm |  |

2.5  PARKING FACILITIES

| OBSERVATIONS | RECOMMENDATIONS |
| --- | --- |
| There are reserved bays in only two locations, near the Food Court, and the Goldfields Computer centres. | The bays should be upgraded to the paraplegic spec. More reserved bays should be created as required. |
| The reserved bays are sub-standard in some respects and not clearly marked. | Parking bays for paraplegic use should be enlarged to 3500 mm, or positioned so that there is extra ‘shared’ space between two bays. The location of such bays should be clearly indicated from the perimeter roads. |
| The procedures for establishing new reserved bays and issuing of permits are not clear. | The Technikon should use the same criteria as for the rest of the Metro. The NMMM Traffic Department should be consulted about standards for marking and signage. The same should apply to the issuing of permits and the policing of the bays.. |
| National Standards Parking bays reserved for drivers or passengers who use wheelchairs should be 3500 mm wide. (This is to allow sufficient space alongside the vehicle for the disabled person to transfer safely between vehicle and wheelchair.) Parking bays should be on firm level ground, close to the entrance to the building, and undercover. (Disabled drivers and passengers generally take longer to get in and out of a vehicle, a problem when it is raining) Right-angle or fishbone parking is preferred. ( Parallel parking exposes a disabled driver to danger from passing traffic). The bays should be clearly marked with a sign on a pole with the regulation blue reserved  R , and the international symbol of accessibility painted on the ground, to deter illegal use. There should be smooth pathways between the parking area and buildings, with suitable kerb ramps onto pavements. Users of parking bays reserved for PWD’s are required to display a permit issued by the local Traffic Authority. |  |

2.6  RAMPS AND PATHWAYS

| OBSERVATIONS | RECOMMENDATIONS |
| --- | --- |
| In most areas it is not possible to move far without encountering a flight of steps or a steep ramp.. | Future developments should not include steps unless they are also bypassed by a paraplegic ramp. |
| Regular maintenance of the surface of parking areas, pavements, paths, ramps, door sills, stairs and other facilities is very important to safe accessibility | Paving should be kept in good repair. This is particularly important for the surface of ramps and pathways used frequently by disabled people. A clear procedure should be issued for reporting such damaged facilities. |
| There are many ramps throughout the Main campus. Most are too steep for wheelchair users or too dangerous as they have no curbs or handrails. Example One. The 1:7 ramp that bypasses the steps outside the front of Art and Design. Example Two. The 1:6 ramp into Block C from the path across the open area from Block E. It is too steep and has no landing curbs or handrails. | All ramps should be checked and upgraded to paraplegic ramps. |
| Some pavements are not accessible and wheelchair users are forced to ride in the road. Example - Between the main buildings and the Health Services and Residences. | Paraplegic kerb ramps should be installed at all corners of pavements and at pedestrian crossings and should include tactile markings for Blind people who use a white cane. |
| Sun, wind and rain make travelling outside very unpleasant and stressful. Example - Between the main buildings and the Health Services and Residences | Wind-breaks and covered routes should be installed where required.. |
| ##### National Standards -Paths and ramp surfaces with firm, non-slip surfaces. (Rough surfaces should be avoided as jolting can cause pain to some PWD’s.) -Maximum step = 15mm. Ramps where required - Gradient < 1:12, Width > 1200 mm, Camber < 1:40. Shorter ramps, eg for pavements, and where the height is less than 400mm, can be at 1:10. Distance between level landings < 5m. Clear landing at top and bottom of ramp >1500 mm, Handrails (900 – 1000 mm), and curbs (>75mm), in contrasting colours) |  |

2.7  ENTRANCES AND DOORWAYS

| OBSERVATIONS | RECOMMENDATIONS |
| --- | --- |
| Most passages are of adequate width and over 1500 mm wide, but some are closed off by small double doors, making the passage inaccessible, unless both doors are kept open. Example – the main entrance to Lebombo Residence for female students.. | Doorways with small double doors and any others with a clear opening of less than 750 mm, should be replaced by a 900 mm wide easy to open door, with a hinged side panel if required for equipment or other access. |
| The frequent strong winds in PE add to the difficulty of opening doors. At some entrances where there is high traffic flow, and the doors can not be left permanently open because of security, noise or weather, wheelchair users can become obstacles to other pedestrians, particularly if the wheelchair becomes stuck on a mat. | Automatic door openers should be installed at entrances with high traffic flow. Safety beams should be installed to ensure that the door cannot close on anyone who becomes stuck in the opening.. In places where automatic door openers cannot be justified due to low traffic flow, door closers should not be fitted, unless they are of the delayed action type. |
| Door mats with rubber strips in the direction of travel, and bristle type mats are difficult for wheelchair users to cross. | All doormats should be upgraded to the type that have hard but absorbent surfaces or have rubber strips across direction of travel. The gap between strips should not be greater than 15 mm to avoid trapping crutches and white canes. For examples see local shopping centres. |
| #### National Standards -Paths and floors with firm, non-slip surfaces. (Rough surfaces should be avoided as jolting can cause pain to some disabled people) -Maximum step = 15mm. -Clear door opening > 750mm. Passage ways > 1200 mm, to allow space to negotiate corners. Light switches, bell pushes and intercoms should be < 1200mm above the floor. |  |

2.8  LIFTS

| OBSERVATIONS | RECOMMENDATIONS |
| --- | --- |
| There is only one lift to access the 13 upper floors of the 7 main academic buildings on the Main campus. | Additional paraplegic lifts should be installed. |
| There are no passenger lifts on the Algoa, Saasveld and Hurteria campuses. | Paraplegic lifts should be installed. |
| NB: The unavoidable use of lifts adds to the time taken to move between lecture venues. This should be allowed for when scheduling lectures for disabled students. |  |
| National Standards Lift door > 800 mm clear opening. Width inside > 1100 mm. Depth inside, > 1400 mm. Handrails at 850 – 1000 mm. Operable controls < 1200 mm high, inside and call buttons outside.. Audible and visual annunciators to indicate the floor at which the lift has stopped. Those who can read it may prefer Braille, but raised letters and numerals are of more general use to most blind and partially sighted people, on controls and on the wall just outside the lift to indicate the floor. Contrasting colours between lift walls and floors, and the outside floor where lift stops. |  |

2.9  TOILETS AND RESTROOMS

| OBSERVATIONS | RECOMMENDATIONS |
| --- | --- |
| There are very few truly accessible toilets on the campus. Some toilets marked accessible are not fully accessible, even in the more modern buildings. Example 1 – in the passage between Block B and the MTLC building. Example 2 – in the Goldfields Computer Centre. | For health reasons there should be accessible toilets on every floor of every building. New unisex toilets should be installed where possible. Existing M & F toilets should be upgraded so that the entrance door to the room and at least one cubicle inside should comply with SABS 0246. |
| Some accessible toilets were inside rooms difficult to enter because of narrow passages or stiff door closers. | Toilet rooms should preferably be designed for modesty but without doors. |
| There were no restrooms for pwd’s who needed to rest during the day, except possibly in the Health Clinic which is not in a central position. | Restrooms for pwd’s should be provided at a few strategic points, and include drinking water and an accessible toilet, and communication with the Clinic. |
| National Standards Public Toilets - Unisex toilets are preferred with direct access from corridor or street, not through a Male or Female toilet area. (This is because a disabled person often travels with a person of the opposite sex, and may need assistance from them). * The standard layout is shown in SABS 0246, Page 12, Fig 13, and illustrates how it is possible to fit a toilet pan and all related fittings into a minimum area of 1800 x 1700 mm. * Critical features include- -Door opening outwards, or sliding, with lever operated lock with emergency release from outside.. -Light switch not higher than 1200 mm above the floor level. -Clear space at least 800 mm alongside the toilet pan to park wheelchair while transferring. -Heavy duty toilet seat 480 to 520 mm above floor level, securely fastened to the pan.. -Centreline of toilet pan, 480-500 mm from wall. Automatic, or extended lever-type flush controls. -Support rails 800 mm above floor. -Hand basin with lever-operated taps, within reach when seated on the toilet, with 630 mm clear knee space under basin, and maximum basin height 830 mm . -Fixed mirror above basin, lower edge not higher than 900 mm above floor. -Soap dispensing and hand drying facilities accessible when seated in a wheelchair. * By sloping and tiling the floor at 1:80 towards the 'spare' corner next to the toilet pan, it is easy to provide for a shower with fold up seat, or for use with a commode/shower chair. This is usually cheaper than installing a bath and is the preferred option for en-suite paraplegic bathrooms in residences and change rooms. In domestic and commercial accommodation, and in student residences, showers and toilets should be en-suite to the bedroom. Paraplegic wheelchair users and others with mobility disabilities can then transfer back onto their bed to finish drying and dressing in private. In public places such as swimming pools, sports facilities and factory change rooms, a bench 500 mm high and 900 mm wide should be provided on which to dry and dress. |  |

2.10  WORK AND STUDY STATIONS,  SERVICE POINTS, CATERING FACILITIES,

| OBSERVATIONS | RECOMMENDATIONS |
| --- | --- |
| Compared with the problems of getting around between buildings and between floors, accessibility within most lecture rooms, laboratories and offices is quite good. | Modify selected work/study stations as required to comply with space and reach standards. |
| Some lecture rooms have fixed seating that limits accessibility for wheelchair users. | Adequate level space should be provided in all lecture rooms, with loose tables as required. Lecture rooms that are not accessible should be highlighted to the department that schedules lectures. |
| Some reception counters and other service points are too high for wheelchair users. Example – the admissions counters in the Main Admin. | All such service points should be modified to include a section at 965 mm max above floor level. |
| Most cafeteria counters and vending machines are too high for wheelchair users. | The maximum height of counters should be 965 mm, and vending machines 1200. |
| National Standards Minimum clear space needed to approach a facility is 1250 x 750 mm wide on flat level ground. Minimum turning circle is 1500 mm diameter Knee and toe clearance under desks and tables should be at least 750 mm high, 450 mm deep and 760 mm wide. The tops of work station desks and tables should not be greater than 865 mm above the floor. A section of the counter at enquiry desks, cashiers, sales and food serving points should not be greater than 965 mm above the floor. Maximum height 1200 mm to light switches and the highest operable part of vending machines and similar equipment. More info is available on reach distances. Ref 22, 41 – Disability etiquette in restaurants. |  |

2.11  PAYPHONES AND ATM’S

| OBSERVATIONS | RECOMMENDATIONS |
| --- | --- |
| Most pay phones cannot be used by wheelchair users as the highest operable control is too high to be reached from a seated position. | Telkom should be asked to install low level card/coin phones at each location where there are existing pay phones. |
| None of the telephones have facilities for people who are deaf. | Telkom should be asked to install a telephone with Teldem facilities for people who are deaf, in at least one strategic position. |
| The only ATM is near the Food Courts (ABSA). It can not be used by wheelchair users as the highest operable control is too high to be reached from a seated position and there is no knee space. | ABSA should be asked to lower the ATM down to the national standard. This should not be a problem as most banks are at present ‘voluntarily’ modifying ATM’s to be accessible including a smooth clear approach, knee space, heights, Braille notation. |
| National Standards Minimum clear space needed to approach a facility is 1250 x 750 mm wide on a flat level surface. Minimum turning circle is 1500 mm diameter Max height 1200 mm to the highest operable part of ATM’s and Payphones. More info is available on reach distances. |  |

2.12  OTHER BARRIERS

| OBSERVATIONS | RECOMMENDATIONS |
| --- | --- |
| Shuttle transport – a service is provided for students between the Main, College and Algoa campuses. However the vehicle is not accessible to wheelchair users. | Accessible transport should be provided for disabled students. |
| Clean air – not observed as a particular problem, but clean air is very important to students and staff with respiratory problems. | No Smoking regulations should be enforced, especially in the cafeterias. |
| Food for special diets – not observed as a particular problem, but there is increasing awareness of conditions such as diabetes and obesity. | The on-campus catering services should provide special diets when required. |
| There are no internal standards to guide Technical Services when maintaining buildings, and to ensure that contractors build accessible facilities in future | PE Technikon internal standards should be issued for use when internal or external contractors work on campus. These should apply when new buildings are designed and built, and during the maintenance and rehabilitation of existing buildings. (see Wits and UCT standards at Refs 19 and 20) |
| There are no internal standards to guide staff when booking external venues for off-campus lectures and other functions. | A checklist should be compiled for staff to use when assessing the accessibility of off-campus venues. |
| Although there is some awareness of the need for improved accessibility in the Architectural Departments, the national standards are not adequately covered during courses. Students can therefore leave the Technikon for professions such as architecture, construction management and quantity surveying with little awareness of the need for accessibility. | The Department of Architecture should include the study of accessibility in the built environment as part of their curricula. This should include at least the National Building Regulations Part ‘S’ (Ref 08), SABS 0246 (Ref 09), and the PWD Guidelines (Ref 43) |

SECTION 3:   SUMMARY  AND   CONCLUSIONS

3.1	The Assessment of the Campuses

In June 2003, the Dean of Students  and the Disability Forum of the PE Technikon commissioned an assessment of the campuses to give a baseline comparison  with the South African national standards for accessibility for people with disabilities

During the assessment, the needs of people with various types of disabilities were considered, including those with  mobility and other physical disabilities and  those who are blind or partially sighted, deaf or hard of hearing, or cannot speak.

The assessment also took note of the needs of the various categories of people who use the  campuses  including students, academic and admin staff, suppliers, contractors and other visitors, and people with temporary disabilities.  Public areas such as the Auditorium and Sport Facilities also need to be accessible to outsiders including parents with pushchairs, and elderly or frail relatives and friends.

## Various  aspects of accessibility were assessed including - Fire and other Health and Safety Hazards, Attitudes and Awareness, Communication, Signage and Access to Info, Parking Facilities,  Ramps and Pathways, Entrances and Doorways, Lifts , Toilets and Restrooms, Work and Study Stations, Service Points, Catering Facilities, Payphones and  ATM’s, residential accommodation and sports facilities.

Unfortunately, most of the buildings on the  Main, College and Algoa campuses were  built in the early 1970’s, and were not designed with disabled people in mind.  The campuses include several no-go areas where there is either no ramp or the existing ramps  are far too steep and dangerous for wheelchair users  to negotiate, even with assistance. Most of the buildings  do not have an accessible paraplegic toilet.  The  much older buildings in George are, perhaps  understandably, even less accessible than those in Port Elizabeth.

Little effort appears to have been made at any campus to improve accessibility, or to attract disabled students or staff.  This is totally unacceptable and discriminates severely against disabled people wishing to study or work at the campuses.

3.2	The Impact of Barriers on Students and Staff with Disabilities

When using any part of the Technikon campuses, disabled people face most of the  types of barriers that are still encountered all too frequently throughout South Africa.

These include widespread lack of awareness about disability issues amongst staff and students, general lack of concern about fire and other health and safety hazards, poor signage to any barrier-free routes and facilities, poor communication systems for eg blind and deaf people,  few reserved parking bays, even  fewer accessible toilet facilities,  some  very steep and dangerous ramps, and  lecture venues where access for wheelchair users is difficult or impossible.

Disabled admin staff appear to be able to cope in their office environments, but disabled students  have to face arduous and time consuming routes between lecture venues, often to find  steep ramps and lack of space when they reach them.

At present there are probably less than 20 staff and students with disabilities.  To comply with Government policy,  the  profile of  students and staff  at the Technikon  should increasingly reflect the demography of South Africa, which includes at least 5 to 10% disabled people.  This means that there will be increasing pressure on the Technikon  to accommodate more disabled students and staff.

With a total of nearly 10 000 students and staff between the campuses, the number of disabled people at the Technikon should rise to at least 500.

Local schools for learners with special needs are  already  feeders of disabled students, and the new policies on inclusive education  will enable  disabled learners  to attend more local schools.

This will result in increasing pressure on the Technikon  to accommodate more disabled students (and of course disabled staff).

No potential disabled student or employee should  be turned away or discouraged from studying or working at the Technikon just because of poor physical or intellectual accessibility.

3.3	The Disability Forum

The Disability Forum does not appear to be functional. It does not meet regularly. Disabled students, the SRC, staff and  unions are poorly informed about their rights and obligations and therefore have low expectations about accessibility and other disability issues. The few disabled students and staff using the campuses are putting  up with poor accessibility – but that does not make it acceptable.

It is  essential that the  Disability Forum, with the assistance of local experts in disability issues, should take a leading role in disability equity, in educating all staff and students in disability issues, in motivating the recruitment of more disabled staff and students, and in a  campaign to remove  barriers at all parts of the  campuses. They should be  represented on the Merger Task Team, to ensure that no more barriers are introduced onto any part of the future Nelson Mandela University.

With over 20 000 students and staff on the merged UPE, Vista and Technikon campuses, a single  ‘Disability Unit’ staffed by full-time disabled employees should be established. Such a unit could also provide services to other colleges and schools in the NM Metro.

3.4	The Way Forward

As this report shows,  the Technikon fails to meet the national standards in all the categories of accessibility that were assessed. Recommendations are therefore  given for  work that should be undertaken urgently to improve all aspects of accessibility as it is no longer acceptable to discriminate against disabled people in this way.

There are  barriers that will require  many minor and some quite major modifications to bring the Technikon up to the South African  national standards.  Fortunately most modifications should be technically straightforward and relatively inexpensive, particularly when included  during the  routine maintenance and renovation of buildings.  It is important that the work to be done  should be seen  as removing barriers, rather than providing special facilities.  Accessibility is a constitutional right in South Africa today.

This report should therefore be used by the Disability Forum to prioritise the work needed to remove the physical and intellectual barriers faced by people with disabilities  at the Technikon.  These barriers should be dismantled rapidly so that the Technikon can become one of the more accessible tertiary education establishments in South Africa.  If Management wishes the Technikon to become a world-class university in all respects, they are urged to appoint a task team to plan and budget for the urgent removal of barriers, in order to bring the campus up to the national standards of accessibility.

Only then could PE Technikon claim to be Proudly South African, for all South Africans.

*^*^*^*^*^*^*^*^*^*^*^*^*^*^*^*^*^*

REFERENCES

00 -  Maps and drawings of  the PE Technikon Campuses

01 - South Africa. Constitutional Assembly. 1996: The Constitution of the Republic of South Africa, (Act 108 of 1996). www.polity.org.za/govdocs/constitution/index.html

See also the Bill of Rights on www.sahrc.org.za/bill_of_rights.htm

02 - Human Rights Commission, November 2002:  Towards a barrier-free society: a report on accessibility and built environments.  45 page document available as 500k PDF file on www.gov.za/reports/2002/sahrc1.pdf

03 - HRC. November 2002:  Towards a barrier-free society – What every South African should know about disability rights.  37 page booklet that can also be downloaded from www.sahrc.org.za

04 - South Africa. 1997 : White Paper on an Integrated National Disability Strategy (INDS), Pretoria: Rustica Press.  see  http://www.polity.org.za

05 - Government of the Eastern Cape, December 2001: Office of the Status of Disabled Persons (OSDP), Integrated Provincial Disability Strategy (IPDS).

06 - South African Bureau of Standards. 1990: SABS 0400. Part S. Facilities for Disabled persons.

07 - South African Bureau of Standards. 1993: SABS 0246. Code of Practice. Accessibility of buildings to disabled persons.

08 - South African Department  of Trade and Industry. 18 April, 1986: National Building Regulations, Part S. Government Printer.

09 - The Occupational Health and Safety Act, 1993
10 - The Labour Relations Act, 1995
11 - The SA Qualifications Act, 1995
12 - The Basic Conditions of Employment Act, 1997
13 - The Employment Equity Act, 1998.  www.polity.org.za/govdocs/legislation/1998/act98-055.html

14 - The Code of Good Practice on Key Aspects of Disability in the Workplace,. See  www.labour.gov.za/docs/legislation/eea/codegoodpractise.htm   See also Ref 48 below.

15 - The Promotion of Equality and Prevention of Unfair Discrimination Act. (No 4 of 2000): www.gov.za/gazette/acts/2000/a4-00.pdf

16 - The Skills Development Act, 1998
17 - The Skills Development Levies Act, 1999
18 -  Dept of Education. White Paper 6, Special Needs Education. Building an Inclusive Education and Training System: www.polity.org.za/govdocs/white_papers/educ6.pdf

19- UCT Disability Unit, 2002: Physical Access and the UCT Built Environment. disable@humanities.uct.ac.za

20 - WITS. July 2002: Disability-Sensible Building Specifications and Guidelines for Physical Access on the Built and Natural Environment. www.wits.ac.za/tee/disability.htm#introduction

21 - Disabled People South Africa.  www.dpsa.org.za

22 - Cohen, Judy. 1998:  Disability Etiquette – Tips on interacting with people with disabilities. Eastern Paralysed Veterans Association, New York.  www.epva.org

23 - EPVA: Wheeling to Fire Safety. New York.  www.epva.org

24 - Chairman Industries. Undated. Grab Rails. Catalogue. 011-624 1222.

25 - Chapman, S. 1998:  Barrier-free Tourism in the Natural Environment for Peop[le with Physical Disability with Special Reference to East cape Facilities. Rhodes University. Unpublished Masters Thesis.

26 -  Durban Rotoract Club. 1996. Wheeling around Durban. Wasserfall.

27 - Filmer, R and J. 1998. Giving people with Disabilities the Opportunity to enjoy our Natural Heritage. Eco-Access. 011-477 3676. www.eco-access.org

28 - Harry, L and Sons. Wheeling Round East London: Wheelchair Access Guide. Ross Designs.

29 - Joubert, I et alia. Undated. Pretoria Accessibility Guide. Liason Committee for the Disabled.

30 - Morton, D. 1997: The Accessibility of Wheelchair Users in the Port Elizabeth Central Business District. UPE. Unpublished  Honours Treatise.

31 - Morton, D. 2000: An Investigation into wheelchair accessibility in the urban business districts of Port Elizabeth. UPE. Unpublished  Masters Thesis.

32 - Patton, C. 1995: The Disabled Community and National Parks. Unpublished honours dissertation, UCT.

33 - Theron, H.  1994: OFS Holiday Guide. Bloemfontein. Design Print

34 - Webb, AC. 2002:  Checklist for Access Surveys. 4 pages, unpublished. (Based on original sample from  Thompson, Seirlis and Cohen)

35 -  Webb, AC. 2003:  Basic Guidelines for Accessibility. 5 pages, unpublished. Based on SABS 0246, et alia. For a copy, email barndans@yebo.co.za

36 - Witte, C. 2000: Accessibility by the Physically Disabled, (with special reference to wheelchair users), to Hotels and their facilities along the Port Elizabeth Beachfront. PE Technikon. Unpublished dissertation for B Tech Degree in Tourism management.

37 – City Transport for People with Disabilities  (The Cape Town Dial-a-Ride System).

Press release by Afrikom dated 9 September 2002.   www.capetown.gov.za/press

Or contact Afrikom, 021-423 7263, or Joe Williams, Disability Desk, City of Cape Town 021-400-2764.

38 – Gradient Finder – a piece of equipment supplied by Peter Products, 011 787 1428

39 -  Lancaster University, UK. 1991 Guidance Notes for staff teaching students with special needs.

40 – Fanie du Toit (011-726 8040) et alia, 2003: A guideline on accommodating people with disabilities in the workplace.  NCPPDSA / Pricewaterhouse Coopers.

41 -  Fanie du Toit (011-726 8040) et alia, 2003: Training guide when assisting persons with physical disabilities in a restaurant.  NCPPDSA / Dulce’ Head Office.

42 -  Services SETA. 2003: Your guide to dealing with disability in the workplace. Part of an Employee Assistance Programme Toolkit.  www.serviceseta.org.za

43 – Dept of Public Works, 2001: Guideline for the design of accessible buildings. See www.publicworks.gov.za/documents/consultants

44 – CCMA (Commission for Conciliation, Mediation and Arbitration) : www.ccma.org.za

45 – Dept of Health. National Rehabilitation Policy. Nov 2000: Rehabilitation for All.

46 – PELIP Housing Company. 1999: Open the door for the disabled.

47 – Public Service Accountability Monitor. 2003: Know your rights. www.myrights.org.za

48 – Dept of Labour. 2003:  Technical Assistance Guidelines on the Employment of People with Disabilities.  www.labour.org.za

49 – The Promotion of Access to Information Act (No 2 of 2000): www.gov.za/gazette/acts.2000/a2-00.pdf

Footnote: In spite of  the wealth of information referred to above,  the key national standards on accessibility (Refs 06, 07 and 08)  are not freely available,  cannot be found on a  website and must be purchased from the relevant authority.

End of Part One